## Summary
CLIENT: | FREEDOM PARK HERITAGE SITE & MUSEUM
PROJECT: | APPOINTMENT OF SERVICE PROVIDER FOR THE SERVICING OF MV SWITCHGEAR, TRANSFORMERS, GENERATORS AND LOW VOLTAGE DISTRIBUTION BOARDS IN FREEDOM PARK FOR PERIOD OF 24 MONTHS
Item No. | DESCRIPTION | AMOUNT
FINAL SUMMARY PAGE
A | PRELIMINARIES AND GENERAL | 0
B | Main Low voltage distribution boards | 0
C | Schedule of MV Equipment | 0
D | Schedule of Distribution Transformers | 0
E | Schedule of Standby Generators | 0
F | Testing, Inspecting and Spare Parts | 70000
SUB TOTAL
| ADD CONTIGENCIES OF R50 000 | 50000
| SUB TOTAL (EXCL VAT) | 120000
| ADD 15% VAT | 18000
| TOTAL TENDER VALUE OFFERED | 138000

## P&G
FREEDOM PARK HERITAGE SITE & MUSEUM
APPOINTMENT OF SERVICE PROVIDER FOR THE SERVICING OF MV SWITCHGEAR, TRANSFORMERS, GENERATORS AND LOW VOLTAGE DISTRIBUTION BOARDS IN FREEDOM PARK FOR PERIOD OF 24 MONTHS
PAGE | ITEM | DESCRIPTION | UOM | QTY | RATE | AMOUNT
2 |  | BILL No. 01: PRELIMINARIES AND GENERAL
2
2 |  | BUILDING AGREEMENT
2 | A | The JBCC General Preliminaries (May 2018) published by the Joint Building Contracts Committee for use with the JBCC Minor Works Agreement (Edition 5.2 - May 2018) shall be deemed to be incorporated in these bills of quantities, amended as hereinafter described | Note
2 | B | The contractor is deemed to have referred to the abovementioned documents for the full intent and meaning of each clause | Note
2 |  | PREAMBLES FOR TRADES AND PRELIMINARIES
2 | A | "The General Preambles for Trades (2017 edition)", as published by the Association of South African Quantity Surveyors, shall be deemed to be incorporated in these bills of quantities and no claims arising from brevity of description of items, fully described in the said General Preambles, will be entertained | Note
2 | B | The contractor's price for all items throughout these schedule of quantities must take account of and include for all of the obligations, requirements and specifications given. | Note
2 | C | Any items left unpriced shall be deemed to be covered by rates and prices elsewhere incorporated throughout these schedule of quantities. Rates are to be priced gross including profit. | Note
2 | D | Water will be supplied by the 'client' for the duration of the project | Note
2 | E | Electricity will be supplied by the 'client' for the duration of the project | Note
2 | F | Contractor to provide a full risk assessment, programme of works and methodology prior to the commencment of work. | Note
2 | G | The awarded contractor is deemed to provided a 2 years workmanship guarantee as well as a 10 year product guarantee from a reputible supplier/manufacturer. | Note
2 | H | All contractors work force must at all times wear a reflector vest representing the company name as well as the individuals name card prior to being on site and will comply to the rules and rugulations by the Freedom Park. | Note
3 | I | The contractor shall be liable for and hereby indemnifies the employer against any and all liability, loss, claim or proceeding consequent upon loss of or damage to any moveable or immovable or personal property or property contiguous to the site, whether belonging to or under the control of the employer or any other body or person whomsoever arising out of or caused by a catastrophic ground movement, as mentioned above, which occurred during the period of the contract | Note
3 | J | Contractor is liable for the remeasuring of the areas. | Note
3 |  | PRELIMINARIES AND GENERALS
3 | A | Contractor to allow for site establishment | item | 1
3 | B | Contractor to suppy ablution facilities for all the contractors work force | item | 1
3 | C | The contractor to do a full Inspection of adjoining properties A full photographic survey must be done by the contractor of adjoining premises, this must be handed over to the 'client' prior to construction. | item | 1
3 | D | Purchase of Original JBCC® Minor Works Agreement: Edition 5.2 May 2018 | item | 1
3 | E | Contractor to allow for Full time site supervision for the duration of the project for the standard working hours of 'Freedom Park' unless otherwise stated. | item | 1
3 | F | Contractor to make allowance for storage container/containers. An area will be indicated by the client prior to comencement of the works. | item | 1
3 | G | Contractor to allow for a full Health and Safety file, including all necessary site inspection meetings where required (project specific to this project in mention) | item | 1
3 | H | Contractor to make allowance for hoarding off areas where rubble is to be removed. | item | 1
3 | I | Contractor to allow for signage where needed. | item | 1
3 | J | Contractor to allow for rubble removal, including all necessary shoots and skips etc | item | 1
3 | K | Contractor to allow for Insurances | item | 1
3 | L | Allow for testing and issuing of compliance of certificate of the entire electrical installation. | item | 1
3 | M | Allow for preparation and submission of as-built drawings | item | 1
3 | N | Operation and maintenance manuals | item | 1
3 |  | ENGRAVING AND LABELLING
3 | O | Engraved labels for main DB identification (per board) | no | 28
3 | P | Circuit breaker identification labels (per circuit) | no | 1200
3 | Q | Warning labels (Danger, Caution etc.) | no | 56
3 | R | Blank face plate covers for unused ways | no | 85
TOTAL CARRIED TO SUMMARY

## Main LV Board
FREEDOM PARK HERITAGE SITE & MUSEUM
APPOINTMENT OF SERVICE PROVIDER FOR THE SERVICING OF MV SWITCHGEAR, TRANSFORMERS, GENERATORS AND LOW VOLTAGE DISTRIBUTION BOARDS IN FREEDOM PARK FOR PERIOD OF 24 MONTHS
Main Low voltage distribution boards
1 | Servicing of the Main LV Board in Various Locations [5kA-1 sec]
Items | Description | Breaker size (A) | Qty | Units | Price | Amount
1.1 | DB-BE Administration Block Finance – Janitor Room |  | 1
Normal Section – C60a 80A x1, C60a 20A x 27 SP, C60a 20A DP x 3
EPS Section – C60a 63A x 1, C60a 20A SP x 16
UPS Section - C60a 63A x 1, C60a 20A SP x 12
|  | 100 |  | ea.
1.2 | DB-R - Second Floor Reception – Staff Kitchen |  | 1
Normal Section – C60a 80A x1, C60a 20A x 27 SP, C60a 20A DP x 3
EPS Section – C60a 63A x 1, C60a 20A SP x 16
UPS Section - C60a 63A x 1, C60a 20A SP x 12
|  | 100 |  | ea.
1.3 | DB-H - First Floor Events – Staff Kitchen
Normal Section – C60a 80A x4, C60a 20A x 36 SP, C60a 20A DP x 8
EPS Section – C60a 63A DP x 1, C60a 20A SP x 14
UPS Section - C60a 63A x 1, C60a 20A x 16
|  | 100 | 1 | ea.
1.4 | DB-A - Ground Floor – Staff Kitchen |  | 1
Normal Section – NS630N x1, NS400N x 1, NS100F x 4, C60a 80A DP x1, C60a 20A SP x 40 SP, C60a 20A DP x 6, IN40A TP x 5, C60a 60A TP x 10
EPS Section – NS630N x1, NS400N x 1, NS100F x 4, C60a 80A x1, C60a 20A x 17 SP, C60a 60A x 4
UPS Section – NSX 100NA x 1, C60a 63A TP x 4
|  | 630 |  | ea.
1.5 | DB-1387/C - Ground Floor Library – DB Room |  | 1
Normal Section – C60a 80A x1 TP, C60a 20A x 70 SP, C60a 20A DP x 3, E/L 63A x 4
EPS Section – C60a 20A x 1 TP, C60a 20A SP x 5, C60a 45A x 1
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 8
|  | 80 |  | ea.
1.6 | DB-1387/D - First Floor Hapo Restaurant – Staff Only Room |  | 1
Normal Section – 100A TP x1 TP, C60a 20A x 58 SP, C60a 20A DP x 4, E/L 63A x 5
EPS Section – C60a 20A x 1 TP, C60a 20A SP x 5, C60a 45A x 2
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 9
|  | 100 |  | ea.
1.7 | DB-1387/B1 - First Floor Coffee Bar – |  | 1
Normal Section – 100A TP x1 TP, C60a 20A x 60 SP, C60a 20A DP x 3, E/L 63A x 5
EPS Section – C60a 40A x 1 TP, C60a 20A SP x 5, C60a 45A x 1
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 16
|  | 100 |  | ea.
1.8 | DB-1387/B2 - First Floor Coffee Bar – |  | 1
Normal Section – 150A TP x1 TP, C60a 20A x 64 SP, C60a 20A DP x 5, E/L 63A x 5
EPS Section – C60a 40A x 1 TP, C60a 20A SP x 8, C60a 45A x 1
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 16
|  | 150 |  | ea.
1.9 | DB-1383/A - Ground Floor Ticketing – Staff Room Only |  | 1
Normal Section – 100A TP x1 TP, C60a 20A x 69 SP, C60a 20A DP x 6, E/L 63A x 5
EPS Section – C60a 40A x 1 TP, C60a 20A SP x 15, C60a 45A x 1
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 10
|  | 100 |  | ea.
1.1 | DB Security Gatehouse – Security Room |  | 1
Normal/EPS Section – C60A 63A DP x1 TP, C60a 20A x 12 SP, C60a 20A DP x 2
|  | 63 |  | ea.
1.11 | DB-1387/E - First Floor Orientation – DB Room
Normal Section – 100A TP x1 TP, C60a 20A x 36 SP, C60a 20A DP x 2, E/L 63A x 3
EPS Section – C60a 20A x 1 TP, C60a 20A SP x 18
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 10
|  | 100 | 1 | ea.
1.12 | DB-1389.425 - First Floor Earth – |  | 1
Normal Section – 100A TP x1 TP, C60a 20A x 54 SP, C60a 20A DP x 6, E/L 63A x 3
EPS Section – C60a 60A x 1 TP, C60a 20A SP x 8, C60a 45A x 2
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 5
|  | 100 |  | ea.
1.13 | DB-1391/S1 - First Floor Control Room – |  | 1
Normal Section – 100A TP x1 TP, C60a 20A x 65 SP, C60a 20A DP x 10, E/L 63A x 6
EPS Section – C60a 20A x 1 TP, C60a 20A SP x 12
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 6
|  | 100 |  | ea.
1.14 | DB-Main - LV Room |  | 1
Normal Section – 800A TP x1 TP, 160A TP x 5, 100A TP x 5, C60a 20A x 65 SP, C60a 20A DP x 10, E/L 63A x 6
EPS Section – 400A x 2, 250A x 1, C60a 20A x 1 TP x 5, C60a 20A SP x 62
UPS Section - C60a 60A x 1 TP, C60a 20A SP x 5
|  | 800 |  | ea.
1.15 | DB-1391.925/A – Resistance & Colonialism – DB Room |  | 1
Normal Section – 100A TP x1 TP, C60a 20A x 46 SP, C60a 20A DP x 6, E/L 63A x 6
EPS Section – C60a 60A x 1 TP, C60a 20A SP x 8, C60a 45A x 2
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 5
|  | 100 |  | ea.
1.16 | DB-1391.925/B – Second Floor Museum – DB Room |  | 1
Normal Section – 100A TP x1 TP, C60a 20A x 39 SP, C60a 20A DP x 5, E/L 63A x 4
EPS Section – C60a 60A x 1 TP, C60a 20A SP x 14
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 6
|  | 100 |  | ea.
1.17 | DB-1387/K/KU – First Floor Kitchen Restaurant – Kitchen |  | 1
Normal Section – 300A TP x1 TP, C60a 20A x 46 SP, C60a 60A TP x 5, E/L 63A x 6
|  | 300 |  | ea.
1.18 | DB – Chiller Plant |  | 1
Normal Section – 630A TP x1 TP, 300A TP x 1, 200A TP x 1, C60a 20A x 12 SP, C60a 60A TP x 3
|  | 630 |  | ea.
1.19 | DB-MLVB – Generator Room – DB Room |  | 1
EPS Section – NS 250A TP x 2, NS100A TP x 5, C60a 60A x 5 TP, C60a 20A SP x 24
|  | 250 |  | ea.
1.2 | DB-MDBE/MDBU – Xitanga Control Room – DB Room
Normal Section – 100A TP x1 TP, C60a 20A x 46 SP, C60a 20A DP x 6, E/L 63A x 6
EPS Section – C60a 60A x 1 TP, C60a 20A SP x 14, C60a 45A x 1
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 6
|  | 100 | 1 | ea.
1.21 | DB-AE/AU – Moshate – DB Room |  | 1
EPS Section – C60a 80A x 1 TP, C60a 20A SP x 16, C60a 40A x 3 TP
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 6
|  | 80 |  | ea.
1.22 | DB-SO – Gallery of Leaders North – Server Room |  | 1
Normal Section – 100A TP x1 TP, C60a 20A x 37 SP, C60a 20A DP x 5, E/L 63A x 4
EPS Section – C60a 60A x 1 TP, C60a 20A SP x 18
UPS Section - C60a 20A x 1 TP, C60a 20A SP x 8
|  | 100 |  | ea.
1.23 | DB-SO1 – Gallery of Leaders South – Server Room |  | 1
Normal Section – 160A TP x1 TP, C60a 20A x 42 SP, C60a 20A DP x 8, E/L 63A x 6
EPS Section – C60a 60A x 1 TP, C60a 20A SP x 22
|  | 160 |  | ea.
1.24 | DB-SS – Sanctuary – Storeroom |  | 1
Normal Section – 160A TP x1 TP, C60a 20A x 43 SP, C60a 20A DP x 8, E/L 63A x 5
EPS Section – C60a 60A x 1 TP, C60a 20A SP x 22
|  | 160 |  | ea.
1.25 | DB – Sanctuary Ablutions – Storeroom |  | 1
Normal Section – C 63A TP x1 TP, C60a 20A x 6 SP, C60a 40A TP x 1, E/L 63A x 1
|  | 63 |  | ea.
1.27 | DB A1– Information Kiosk Female – Female Ablutions |  | 1
Normal Section – C 100A TP x1 TP, C60a 20A x 16 SP, C60a 40A TP x 1
|  | 100 |  | ea.
1.28 | DB A2– Information Kiosk Male – Male Ablutions |  | 1
Normal Section – C 100A TP x1 TP, C60a 20A x 16 SP, C60a 40A TP x 1
|  | 100 |  | ea.
0

## MV Switchgear and Transformers
FREEDOM PARK HERITAGE SITE & MUSEUM
APPOINTMENT OF SERVICE PROVIDER FOR THE SERVICING OF MV SWITCHGEAR, TRANSFORMERS, GENERATORS AND LOW VOLTAGE DISTRIBUTION BOARDS IN FREEDOM PARK FOR PERIOD OF 24 MONTHS
Schedule of MV Equipment
1 | Servicing of the Medium Voltage Switchgear and Transformers in Substation A and Substation B
Items | Description | Breaker size (A) | Qty | Units | Price | Amount
1.1 |  | 630A | 1 | ea.
Switchgear 1 – Substation A
1.2 |  | 630A | 1 | ea.
Switchgear 1 – Substation B
0

## Distribution Transformers
FREEDOM PARK HERITAGE SITE & MUSEUM
Schedule of Distribution Transformers
1 | Servicing of Transformers in Substation A and Substation B
Items | Description | Breaker size (A) | Qty | Units | Price | Amount
1.1 |  | 630A | 1 | ea.
Transformer 1 – Substation A
1.2 |  | 630A | 1 | ea.
Transformer 2 – Substation A
1.3 |  | 630A | 1 | ea.
Transformer 3 – Substation B
0

## Standby Generators
FREEDOM PARK HERITAGE SITE & MUSEUM
Schedule of Standby Generators
1 | Servicing of Standby Generators in Various Locations
Items | Description | Size (A) | Qty | Units | Price | Amount
1.1 |  | 500KVA | 1 | ea.
Generator No 1 – Volvo
1.2 |  | 100KVA | 1 | ea.
Generator No 2 – John Deere Mobile Unit
1.3 |  | 350KVA | 1 | ea.
Generator No 3 – Volvo
1.4 |  | 60KVA | 1 | ea.
Generator No 4
1.5 |  | 630A | 1 | ea.
Generator No 5 – Doosan
0

## Testing, Inspect and parts
FREEDOM PARK HERITAGE SITE & MUSEUM
APPOINTMENT OF SERVICE PROVIDER FOR THE SERVICING OF MV SWITCHGEAR, TRANSFORMERS, GENERATORS AND LOW VOLTAGE DISTRIBUTION BOARDS IN FREEDOM PARK FOR PERIOD OF 24 MONTHS
PAGE | ITEM | DESCRIPTION | UOM | QTY | RATE | AMOUNT
2 |  | TESTING AND INSPECTIONS
2 | A | Infrared scanning of all distribution boards | no | 28
2 | B | Relay injection testing (MV equipment) | set | 2
2 | C | Circuit breaker ductor testing | set | 5
2 | D | Megger testing (transformers) | set | 3
2 |  | SPARE PARTS
2 | E | Allow for Strategic spare parts | Sum | 1 | 30000 | 30000
2 | F | Allow for Operating spare parts | Sum | 1 | 40000 | 40000
TOTAL CARRIED TO SUMMARY | [5 empty] | 70000